Supplementary File 5: Results of the adult-pediatric transfer learning strategy in pediatric patients treated with MDI

This section reports detailed prediction results for all the 30 patients treated with MDI across the three prediction horizons (10, 20, and 30 minutes) obtained with the adult-pediatric transfer learning strategy. Table S8 summarizes the characteristics of the 30 MDI-treated patients included in this analysis. The original T1DEXI MDI cohort comprised 34 participants. Four patients were excluded because the amount of available data differed substantially from that of the remaining participants, with some having considerably more data and others considerably less. To ensure a more homogeneous cohort, only patients with approximately 10 days of data, comparable to the pediatric study duration, were retained. The final cohort included 19 males and 11 females.

Table S11: Characteristics of the selected pediatric population treated with MDI ((n = 30))

| Feature | Min | Q1 | Mean | Median | Q3 | Max |
| --- | --- | --- | --- | --- | --- | --- |
| Time In Range (TIR) (%) | 23.84 | 42.33 | 63.15 | 62.89 | 82.72 | 95.04 |
| Time Below Range (TBR) (%) | 0.00 | 0.29 | 2.66 | 1.28 | 3.78 | 17.09 |
| Time Above Range (TAR) (%) | 0.88 | 9.01 | 34.18 | 36.80 | 53.91 | 76.12 |
| Coefficient of Variation (CV) (%) | 21.50 | 27.98 | 33.18 | 33.26 | 36.03 | 50.28 |
| Age (years) | 12.00 | 12.00 | 13.57 | 13.00 | 14.00 | 17.00 |
| Total PA duration (min) | 210.00 | 672.80 | 1105.51 | 812.50 | 1240.76 | 3031.60 |
| Years since T1D diagnosis | 5.00 | 10.00 | 10.97 | 11.00 | 13.00 | 14.00 |
| HbA1c (%) | 5.30 | 5.80 | 7.28 | 7.10 | 7.75 | 10.90 |
| Weight (kg) | 30.39 | 50.35 | 56.71 | 56.70 | 63.16 | 77.11 |
| Height (m) | 1.40 | 1.58 | 1.66 | 1.65 | 1.72 | 1.88 |
| Body Mass Index (kg/m²) | 15.36 | 18.78 | 20.52 | 20.04 | 22.64 | 25.84 |

TIR: 70–180 mg/dL (3.9–10.0 mmol/L); TBR: < 70 mg/dL (< 3.9 mmol/L); TAR: > 180 mg/dL (> 10.0 mmol/L); CV: 100 × SD/mean glucose.

Values summarize participants over their respective observation windows.

The rest of the section reports detailed prediction results for all the 30 patients using MDI across the three prediction horizons (10, 20, and 30 minutes) obtained with the adult-pediatric transfer learning strategy. Only predictions falling within the high-risk CEG zones (Hypo D, Hyper D, Hypo E, and Hyper E) are reported. Columns corresponding to one of these high-risk CEG zones are omitted when no patient had any prediction in that zone. When only a single patient had predictions in a given high-risk zone, the corresponding column is also omitted for readability; instead, that patient is identified by an asterisk, and the detailed results for the omitted zone are provided in a table footnote. Observe that in all such cases, only one patient had a single prediction in the omitted zone.

Table S12: Detailed results of the adult-pediatric transfer learning strategy for the pediatric MDI users at the 10-minute prediction horizon

|  | Overall | Zone Hypo D |  |  |
| --- | --- | --- | --- | --- |
| Patient ID | RMSE (mg/dL) | (%) | Number | RMSE |
| 332 | 5.83 | 0.00% | 0 | 0.00 |
| 301 | 6.02 | 0.00% | 0 | 0.00 |
| 256 | 6.61 | 0.00% | 0 | 0.00 |
| 458 | 6.72 | 0.00% | 0 | 0.00 |
| 86 | 6.79 | 0.00% | 0 | 0.00 |
| 167 | 7.09 | 0.00% | 0 | 0.00 |
| 100 | 7.79 | 0.00% | 0 | 0.00 |
| 35 | 9.64 | 1.07% | 6 | 31.14 |
| 328 | 9.93 | 0.00% | 0 | 0.00 |
| 502 | 10.54 | 0.00% | 0 | 0.00 |
| 125 | 10.93 | 0.00% | 0 | 0.00 |
| 220 | 11.01 | 0.96% | 5 | 38.09 |
| 334 | 11.21 | 0.19% | 1 | 19.51 |
| 354 | 11.54 | 0.71% | 4 | 35.71 |
| 40 | 11.63 | 0.73% | 4 | 15.96 |
| 209 | 12.32 | 0.00% | 0 | 0.00 |
| 360 | 12.43 | 0.76% | 4 | 21.17 |
| 197 | 13.26 | 0.00% | 0 | 0.00 |
| 286 | 13.45 | 0.00% | 0 | 0.00 |
| 317 | 14.20 | 3.08% | 14 | 31.24 |
| 443 | 14.54 | 0.43% | 2 | 18.09 |
| 194 | 14.83 | 0.00% | 0 | 0.00 |
| 441 | 15.00 | 0.94% | 4 | 24.60 |
| 264 | 15.22 | 0.96% | 5 | 21.34 |
| 208 | 15.34 | 0.00% | 0 | 0.00 |
| 67 | 15.52 | 0.00% | 0 | 0.00 |
| 237 | 16.05 | 1.62% | 9 | 24.61 |
| 171 | 17.71 | 2.70% | 14 | 30.91 |
| 329 | 21.04 | 0.18% | 1 | 65.07 |
| 140 | 23.97 | 0.00% | 0 | 0.00 |

RMSE: root mean squared error (mg/dL).

Hypo D: model predicts target range while patient is in hypoglycemia.

(%) is the percentage of samples in that category; “Number” is the corresponding count of samples; the RMSE columns are computed over the samples within that category (0.00 if none).

Table S13: Detailed results of the adult-pediatric transfer learning strategy for the pediatric MDI users at the 20-minute prediction horizon

|  | Overall | Zone Hypo D |  |  | Zone Hyper D |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Patient ID | RMSE (mg/dL) | (%) | Number | RMSE | (%) | Number | RMSE |
| 332 | 12.03 | 0.82% | 4 | 17.14 | 0.00% | 0 | 0.00 |
| 301 | 14.54 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 334 | 14.78 | 0.39% | 2 | 15.15 | 0.00% | 0 | 0.00 |
| 256 | 14.83 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 458 | 16.91 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 100 | 17.24 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 86 | 18.34 | 0.57% | 3 | 33.58 | 0.00% | 0 | 0.00 |
| 360 | 18.58 | 1.15% | 6 | 34.94 | 0.00% | 0 | 0.00 |
| 167 | 19.02 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 328 | 19.74 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 220 | 20.47 | 2.92% | 15 | 41.48 | 0.00% | 0 | 0.00 |
| 40 | 20.55 | 1.10% | 6 | 16.62 | 0.00% | 0 | 0.00 |
| 286 | 20.98 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 67 | 21.49 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 317 | 21.72 | 5.62% | 25 | 32.34 | 0.00% | 0 | 0.00 |
| 125 | 25.14 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 197 | 25.45 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 354 | 25.52 | 1.07% | 6 | 43.55 | 0.36% | 2 | 77.36 |
| 264 | 27.19 | 1.36% | 7 | 37.74 | 0.58% | 3 | 103.95 |
| 35 | 27.19 | 2.50% | 14 | 60.67 | 0.54% | 3 | 90.93 |
| 502 | 28.26 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 208 | 28.38 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 171 | 28.60 | 3.71% | 19 | 33.79 | 0.00% | 0 | 0.00 |
| 441 | 29.03 | 1.96% | 4 | 54.25 | 0.72% | 3 | 93.34 |
| 140 | 30.48 | 0.00% | 0 | 0.00 | 0.32% | 1 | 69.11 |
| 209 | 30.67 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 329 | 31.34 | 0.19% | 1 | 85.48 | 0.56% | 3 | 83.51 |
| 194 | 32.49 | 0.00% | 0 | 0.00 | 0.21% | 1 | 81.00 |
| 443 | 33.63 | 3.42% | 16 | 34.52 | 0.00% | 0 | 0.00 |
| 237 | 33.81 | 1.81% | 10 | 44.10 | 1.27% | 7 | 110.85 |

RMSE: root mean squared error (mg/dL).

Hypo D: model predicts target range while patient is in hypoglycemia; Hyper D: model predicts target range while patient is in hyperglycemia.

(%) is the percentage of samples in that category for the patient; “Number” is the corresponding count of samples; the RMSE columns are computed over the samples within that category (0.00 if none).

Table S14: Detailed results of the adult-pediatric transfer learning strategy for the pediatric MDI users at the 30-minute prediction horizon

|  | Overall | Zone Hypo D |  |  | Zone Hyper D |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Patient ID | RMSE (mg/dL) | (%) | Number | RMSE | (%) | Number | RMSE |
| 332 | 13.27 | 3.11% | 15 | 22.21 | 0.00% | 0 | 0.00 |
| 334 | 15.81 | 1.36% | 7 | 19.95 | 0.00% | 0 | 0.00 |
| 458 | 16.88 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 301 | 17.77 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 256 | 17.91 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 100 | 18.87 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 40 | 19.86 | 1.48% | 8 | 18.33 | 0.00% | 0 | 0.00 |
| 360 | 20.66 | 1.15% | 6 | 26.38 | 0.00% | 0 | 0.00 |
| 328 | 21.94 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 67 | 22.42 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 286 | 22.83 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 86 | 23.44 | 0.57% | 3 | 47.02 | 0.00% | 0 | 0.00 |
| 208 | 24.00 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 220 | 25.58 | 2.36% | 12 | 55.61 | 0.00% | 0 | 0.00 |
| 167 | 27.03 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 317 | 27.78 | 5.29% | 23 | 39.95 | 0.00% | 0 | 0.00 |
| 502 | 29.45 | 0.00% | 0 | 0.00 | 0.96% | 5 | 81.21 |
| 171 | 29.65 | 2.96% | 15 | 53.28 | 0.00% | 0 | 0.00 |
| 354 | 30.38 | 1.07% | 6 | 68.21 | 0.18% | 1 | 74.31 |
| 441 | 31.61 | 0.99% | 4 | 56.15 | 2.96% | 12 | 92.99 |
| 140 | 32.57 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 329 | 33.14 | 0.19% | 1 | 63.79 | 2.06% | 11 | 106.01 |
| 237 | 33.24 | 2.19% | 12 | 36.21 | 1.46% | 8 | 109.58 |
| 209 | 33.81 | 0.00% | 0 | 0.00 | 0.00% | 0 | 0.00 |
| 35 | 34.21 | 2.33% | 13 | 75.35 | 1.43% | 8 | 84.83 |
| 125 | 34.45 | 0.00% | 0 | 0.00 | 0.54% | 3 | 121.54 |
| 264 | 35.92 | 1.96% | 10 | 44.38 | 0.00% | 0 | 0.00 |
| 197 | 36.61 | 0.00% | 0 | 0.00 | 0.24% | 1 | 111.53 |
| 443 (*) | 38.70 | 4.72% | 22 | 48.28 | 0.00% | 0 | 0.00 |
| 194 | 40.60 | 0.00% | 0 | 0.00 | 0.43% | 2 | 94.31 |

RMSE: root mean squared error (mg/dL).

Hypo D: model predicts target range while patient is in hypoglycemia; Hyper D: model predicts target range while patient is in hyperglycemia.

(%) is the percentage of samples in that category for the patient; “Number” is the corresponding count of samples; the RMSE columns are computed over the samples within that category (0.00 if none).

(*) Patient 443 was the only patient with a prediction in zone Hyper E (Hyper E: model predicts hypoglycemia while patient is in hyperglycemia). This patient had a single prediction in this zone, with an absolute error of 125 mg/dL.